CARNEGIE MELLON UNIVERSITY

NANOFABRICATION FACILITY GUIDELINES

May 2001

Contents:

Introduction	1

Gaining Admittance	1

Management	1

Phone Numbers	1

Keys	2

Buddy System	2

Overview	3

Change Room	3

Cleanroom Layout	4

Cleanroom Log	5

Cleanroom Fee	5

Equipment Training	7

Sputtering System Schedule	7

Equipment Logbooks	7

Equipment Fee	8

Wet Benches	9

Acid Wet Benches	10

Solvent Wet Benches	10

Communal Glassware	11

Wet Chemistry Bay Storage Shelves	11

Shower/Eye Wash	11

Emergency Power Disconnects	11

Alarms	12

Fire Extinguishers	12

First Aid Station	12

Material Safety Data Sheets (MSDS)	12

Chemicals and Gases	12

Chemical Description and Hazard Analysis	14

Particularly Hazardous Substances	15

Intercom	15

Central Vacuum Cleaner	15

Shop	16

Cleanroom Facilities	17

Notes	18

Introduction:

This guide is an attempt to address the most commonly asked questions about the Nanofabrication Facility.  Hopefully, it will present a clear picture of how the facility operates and will eliminate confusion about rules that may at times seem to get in the way of research. Any suggestions concerning the operation of the facility will be appreciated. It is our intention to provide easy access to the cleanroom and efficient use of the equipment while at the same time ensuring the safety of lab users and the proper maintenance of a state-of-the-art processing facility. The behavior we promote is "always leave the cleanroom cleaner than when you found it.” Explicitly - no activity may contaminate or cause damage to the laboratory or any equipment. No modifications of any kind may be made without prior approval.

Gaining Admittance:

Proper authorization is necessary for admittance to the cleanroom.  No one will be admitted to the cleanroom before meeting with the Nanofab Director, to become familiar with the Nanofabrication Facility Guidelines. Graduate students who have been instructed by their advisors to use the cleanroom must still gain admittance to the facility from the Nanofab Director and follow the Nanofabrication Facility Guidelines. All materials and equipment must be inspected and approved before entering the cleanroom. In general, no particle generating material will be allowed in the cleanroom (i.e., pencils, cardboard boxes, newspaper, wood, dirty equipment, especially dirty fans). No Scotch tape is allowed in the lab because of contamination problems. All chemicals must be approved and a Material Safety Data Sheet (MSDS) and a Cleanroom Chemicals and Gases form must be provided for them before they are brought into the cleanroom. Each cleanroom user will be required to attend the Laboratory Safety and Hazardous Waste class offered by Environmental Health and Safety. In addition, every user will be must read and understand the Chemical Hygiene Plan and complete a Nanofabrication Facility Guidelines quiz.

Management:

Chris Bowman is the Director of the Nanofabrication Facility. He supervises all of the day-to-day operations of the facilities comprising the Cleanroom on the E and F levels of Hamerschlag Hall, the Darkroom in HH B113, and three Thin Film Processing Laboratories in Roberts Engineering Hall. Chris reports to the director of the Data Storage System Center who has the ultimate responsibility to the University for the overall operation of the facility. Carsen Kline is a process engineer on the Nanofab staff and also works to maintain the operation of the laboratory and the equipment inside. While working in the Nanofab you will follow these Guidelines. The Nanofab management will monitor your activities and expect your cooperation.

Phone Numbers:

Chris Bowman	x8-2471	Home 361-5749	e-mail ccbowman@ece.cmu.edu

Carsen Kline		x8-7008	Home 621-7619	e-mail kline@ece.cmu.edu

Cleanroom		x8-8795

Security		x8-2323

c.Keys:

The cleanroom is typically open 7:30 am to 5:30 pm Monday - Friday. Access to the cleanroom at night and on weekends may be obtained after an initial training period and with approval of Chris Bowman and a Faculty Advisor. To obtain a key, a Cleanroom Sign Out Form and an ECE Department Key Sign Out Form are required.  First, pick up the ECE Form from Ed Pikula in HH 1118, and the Cleanroom Form from Carsen Kline.  When the Cleanroom Form has been completed, Chris Bowman will sign the ECE Form, and the key may be picked up from Ed.  Note that there is a minimum $50.00 per month Cleanroom Usage Fee for key holders. This system is intended to keep tight control of the keys and to encourage the occasional user to work during regular hours when supervision is in place. A key to the facility may be checked out for occasional night and weekend use. Keys may not be loaned to anyone.

CLEANROOM KEY SIGN OUT FORM

The cleanroom is open 9:00 am to 5:30 pm Monday - Friday. A key for the cleanroom will be assigned only upon completion of this form and the ECE Department Key Sign Out Form. Please read and initial each item.

____	A minimum cleanroom usage fee of $50.00 per month will be charged to all key holders. The key 	must be returned to Ed Pikula and the cleanroom management must be notified before the 	first of the month to avoid charges for that month.

____	The Cleanroom Guidelines and Buddy System must be followed to maintain night and 	weekend use privileges.

____	This policy is strictly enforced. Any deviation from this policy will lead to removal of key privileges. 	Continued problems will result in loss of access to the cleanroom.

Name 	____________________________________	Signature 	___________________________

Advisor Signature 	___________________________	Account Number 	_____________________

Date Issued 	_______________________________	Date Returned 	_______________________

c.Buddy System:

Because of the lack of supervision and the lack of help nearby a Buddy System must be used for certain activities during night and weekend use.

Your Buddy should:

a)	Know what you are doing and when you are doing it.

b)	Be in the cleanroom at all times during the activity, but not necessarily in the 
	immediate area.

c)	Know what to do in case of an emergency.

Activities that require the Buddy System during night and weekend use:

- Heating solvents or acids.

- Electrical repair work.

- Vacuum maintenance work, including cleaning vacuum chambers.

- Processing using toxic gases.

Overview:

The cleanroom was constructed in 1983 for the ECE Department with university funds in support of what was then called the Magnetics Technology Center, now the Data Storage Systems Center. Research within the Nanofab is currently about two thirds data storage related and one third MEMS and others. The laboratory is divided into two zones. Zone One is 2,600 sq. ft. of Class 100 clean space. The class 100 specification has a maximum allowable particle count of one hundred .5 micron diameter and larger particles per cubic foot of air. This class 100 area consists of a change room and a main corridor with four 12 ft. X 22 ft. process bays: Bay 1, Bay 2, Bay 3 and Bay 4.

Zone Two is 1,200 sq. ft. of Class 10 clean space. The class 10 specification has a maximum allowable particle count of ten 3-micron diameter and larger particles per cubic foot of air. Zone Two is lighted with non-U.V. yellow light for photolithography work and is divided into three bays: the F.I.B. room, the Wafer Clean Bay and the Photolithography Bay with the S.E.M. Room. The class 10 clean space is at positive pressure with respect to the class 100 clean space, which is at positive pressure with respect to the outside hallways. The overall floor plan with a complete equipment listing as of July 2000 is shown on the next page.

There is a service chase between each process bay which is used for house facilities hookup, gas bottles, vacuum pumps, furnaces, and remote power supplies. Each service chase is accessible from the exterior of the cleanroom through a door. These doors should be kept closed when working in the chase in order to maintain the positive pressure of the cleanroom.

External to the cleanroom there is a lounge, two offices, a shop, a liquid nitrogen station and storage cabinets for spare parts. The E-level consists of nine large air handlers on a deck with the associated piping, a loading dock, and the mechanical room that contains the equipment for the house facilities.

Change Room:

The change room is divided in half by a bench. This bench is sealed to the floor and acts as a dirt barrier. One side of the floor is for street shoes only and the other side is for cleanroom boots only.  To gown up sit down on the bench and put on one boot, step across, put on the next boot, and step across. Next put on the hood. Finish by putting on the coverall.  Regular users of the cleanroom are assigned a hanger and a nametag for their garments after averaging 7 entries for 3 straight months.  All others use visitor garments. Garments are used for an equivalent of one week’s work maximum, or until soiled. Then pull out a new garment and deposit the old one in the soiled garment bin.

When entering or leaving the change room, only one door should be open at a time in order to maintain the positive pressure of the cleanroom and prevent contamination of the clean space by office area particulates.  If both doors are open at the same time an alarm will sound.  There is a similar air lock between the Class 10 and Class 100 areas that should be accessed in the same way. There are windows in these doors for this purpose. Be observant before entering these air locks. Typical particle counts for filtered office air range between 50,000 - 200,000 particles per cubic foot.

Cleanroom Layout:

Cleanroom Log:

Each person entering the cleanroom, including any visitors, must sign the log located in the change room once per day.  This log assists us in assigning appropriate fees for cleanroom use.  An account number must be included with each sign up. Daily sign-up is mandatory for anyone entering the cleanroom. There are no exceptions.

Cleanroom Fee:

Each person entering the cleanroom is charged a $25 fee.  Solvents, gloves, and wipes are stocked in the cleanroom for the convenience of the users.  The fee covers only the supplies stocked in the cleanroom and these supplies are for cleanroom use only.

There is a stock of additional supplies located in the change room.  These are common
supplies needed for processing and are stocked and sold for the convenience of
cleanroom personnel.  Each item must be signed out properly using the supply sign out
sheet located in the change room. There is a black binder with a complete listing of
stocked supplies and prices located on the shelf behind the sign out sheet.

The cleanroom fee is used to cover the cost of the following items:

DI Water:	Maintenance of the entire system

Salt for softener

Carbon filter

10 micron filters

1 micron filters

0.2 micron filters

Ion exchange cartridges

U.V. lamps

Pump repair

R.O. repair

Plumbing Repair and modification

Cleanroom garment rental, cleaning, and shipping

Nitrogen gas for the N2 guns and vacuum systems

LN2 Dewar maintenance

Tacky mats

Chemical gloves

Cotton tipped applicators

Microclean soap

HF Acid Aid

Particle Counter calibration (yearly) and maintenance

Wet bench maintenance:	sinks, N2 guns, DI guns, timers,

ultrasonics, and plumbing

Acid/Solvent spill pillows

First Aid cabinet supplies

Air flow and balancing equipment and supplies

Humidity and temperature measuring equipment and repairs

Cleanroom Fee (cont.):

Janitorial supplies:	Mops, detergents, wax, glass cleaner, garbage bags,
			Scotchbrite, sure wipes, etc.

Dishwasher maintenance

Dishwasher soap

Nanostrip stripper for communal glassware cleaning

Communal glassware and wafer holders

Exterior doormats

Wet vacuum and vacuum cleaner accessories and maintenance

Acid drain system maintenance

Acid/Solvent cabinet maintenance

Shelves

Clocks

Carts

Office supplies for lab: Printing, labels, shipping tape, pens, paper, binders, etc.

Telephone charges

Terminal maintenance

Signs

Paint for exterior walls

Furniture repairs

Miscellaneous facility maintenance: Caulking, spray paint, return air grills, etc.

Technical handbooks and literature

Equipment Training:

Training is required before using the majority of the equipment in the cleanroom. There is a Qualified Operators List for each machine. To obtain training, arrangements are made with someone on the list to observe and practice operating the machine under direct supervision. After this initial training period and when the qualified operator decides the individual is prepared, arrangements are made with Chris or Carsen for final check out. No one is allowed to use the equipment without direct supervision until after final check out. Direct supervision means that a qualified operator must be standing at the machine at all times.

The training required for using a sputtering system is more extensive and typically more time consuming. First observe and practice using the machine with a qualified operator during that operator's one-week block. Then sign up for the machine and gain experience and training using your materials with direct supervision by a qualified operator. Then you are ready for check out on the sputtering system operation. Additional training and final check out must be acquired in the same manner for target installation and removal.

Equipment Logbooks:

The logbook for each machine must be filled out completely for each use. These records are maintained for reference regarding process parameters, history of materials used, use history for maintenance, communication between users, and for assessing fees.

Equipment Fee:

A fee is charged for using the majority of the equipment in the cleanroom. The charges are used to maintain the existing features and specifications of the equipment. All upgrades and modifications are charged to individual or group research accounts. The fee is assessed either by the run, by the hour or by the day.

Use of the following equipment is charged by the run.

Perkin Elmer 2400 6J Sputtering System	$105/run

Perkin Elmer 2400 8L Sputtering System	$105/run

5-Target Sputtering Systems	$105/run

CVC Connexion Sputtering System	$150/run

Leybold-Heraeus Z-650	$115/run

Leybold-Heraeus Z-400	$105/run

Anelva Sputtering System	$105/run

Commonwealth Ion Beam System	$105/run

Perkin Elmer Evaporator	$105/run

Veeco Evaporator	$105/run

IPC Plasma Etch System	$60/run

Tegal Plasma Etch System	$105/run

Anatech Goldcoater	$75/run

Micromech Diamond Saw	$55/run

Plasma Therm Reactive Ion Etch	$105/run

Rapid Thermal Annealer	$75/run

Strasbaugh Chemical Mechanical Polisher	$105/run

6” Oxidation Furnace	$100/run

6” Annealing Furnace	$100/run

Use of the following equipment is charged by the hour, and recorded to the nearest tenth of an hour for the time the machine is energized.

Tencor Alpha Step Profilometer	$55/hour

GCA Stepper	$125/hour

Karl Suss MJB3 Mask Aligner	$90/hour

Karl Suss MA56 Mask Aligner	$90/hour

Cobilt Mask Aligner	$55/hour

Hitachi S-800 S.E.M.	$105/hour

Micrion Focused Ion Beam 2400	$155/hour

Each run on the Surface Technology Systems ICP RIE is $125 for the first hour of use, with a minimum charge of 1 hour, plus $35 for each additional hour.

c.

Wet Benches:

The wet benches are designed for multi-user multi-task convenience. The cleanroom is a multi-user research environment. In this facility some basic laboratory habits are required to accommodate the many different research projects. First and foremost, always leave the wet bench cleaner than when you found it. No beakers, chemicals, wipes, tweezers, etc. may be left on the wet bench. If you are leaving the immediate area for a short period of time e.g., to use the restroom, go to your office, or take a short lunch break, chemicals in labeled beakers may be left on the bench. No chemicals may be left on the bench overnight. Any unattended unlabeled chemicals left on a wet bench will be removed. A workstudy will inspect the benches daily and after attempting to find the owner will remove any unattended and unlabeled chemicals or beakers. Any chemical drips or spills to the deck of the wet bench should be rinsed off with the DI spray gun. The N2 guns and DI guns should always be placed into their holders when finished. The N2 master valve should be turned off when finished.

Safety glasses or goggles and gloves should be used when working at the wet benches. Safety glasses and vinyl gloves are sufficient when work is limited to using solvent wash bottles, DI water, and developer. Chemical gloves and face shields must be used at all other times e.g., pouring from one gallon containers, using beakers, heating solvents or acids.

Small acid or solvent drips to the floor should be wiped up using chemical gloves and micro wipes. The wipes should be deposited into the plastic waste containers and then reported. Larger spills should be reported immediately for clean up by the management. Do not attempt to clean large spills by yourself.

Acid Wet Benches:

Concentrated acids may be poured down the drain, with the exception of hydrofluoric acid. Hydrofluoric acid will etch the ceramic neutralization sump and must be poured into empty plastic one gallon HF bottles marked with the appropriate labels found on the acid storage cabinet door. See the HF Particularly Hazardous Substance Protocol for complete details. To dump acids down the drain use the center sink. First turn on the city water and then slowly pour the acid into the sink. Let the water run for a minute to thoroughly flush the acid down the drain.

It is not our policy to stock standard acids - it is the responsibility of the people who need to use acids to work together to share the available space in the acid cabinet. This is best accomplished by sharing acid purchases to eliminate multiple one-gallon bottles of the same acid. All bottles should be labeled with the owners name and date. In this way we minimize the quantity of acids that are stored in the cleanroom and the associated hazards. Occasionally, some acid will drip down the side of the bottle when acid is poured from one-gallon containers into a beaker on the wet bench. This dripping should be washed off before returning the bottle to the acid cabinet. The acid cabinets are inspected on a regular basis to remove any old, unwanted, or non-labeled bottles. Nitric acid storage is kept to a minimum due to incompatibility with other acids. Small amounts of nitric acid may be kept on a plastic drip tray beneath the acid wet bench.

Solvent Wet Benches:

Acetone, isopropyl alcohol and trichloroethane one-gallon bottles are stocked in the solvent cabinets by work study students. Waste solvent bottles are stored in the solvent cabinets and are removed by the work study students. No solvents may be dumped down the drain. Empty one-gallon plastic acetone and isopropyl alcohol bottles are marked with the waste labels provided on the door of the solvent cabinet. Waste acetone and alcohol is poured from beakers into these plastic one-gallon containers. 500ml wash bottles of acetone and alcohol are provided at each solvent wet bench. Small amounts of acetone and alcohol, that will quickly evaporate, may be washed over a substrate on the deck. Larger amounts from the wash bottles should be washed into the solvent cup sink. This cup sink drains into a stainless steel one-gallon container beneath the wet bench and is for wash bottle use only. Photoresist should be rinsed with an acetone wash bottle over the cup sink. Soaking and extended rinsing should be done in a large beaker and then poured into a plastic waste bottle.

Waste trichloroethane is kept separate from waste acetone and alcohol. Empty one-gallon glass trichloroethane bottles are marked with waste trichloroethane labels provided on the door of the solvent cabinet. Waste chlorobenzene and HMDS is kept in empty chlorobenzene and HMDS bottles marked 'waste' with a permanent marker.

Communal Glassware:

There is a selection of glassware and wafer holders available for general use located on four shelves in the Wafer Clean Bay. Two shelves are labeled 'dirty glassware' and two are labeled 'clean glassware.' A workstudy student cleans the dirty glassware and wafer holders in the glassware washer on a regular basis. Stained glassware is cleaned in a stripping solution or is replaced. Return all communal glassware and wafer holders to the dirty shelf immediately after each use.

Wet Chemistry Bay Storage Shelves:

There is a set of shelves located in the Wet Chemistry Bay used for storing individual processing supplies. The amount of storage space for this purpose is kept to a minimum to avoid contamination problems. Processing supplies used in the Wet Chemistry Bay and the Photolithography Bay may be kept in an assigned personal shelf with your name on it. Supplies are kept in stainless steel trays or in small plastic toolboxes that will fit in the shelf. These are private supplies and no one should touch them without the permission of the individual owner. The trays and toolboxes are available in the supply area located in the change room. Shelves are assigned on a first come first serve basis and according to the frequency of cleanroom use. Those individuals using the Wet Chemistry and Photolithography Bays on a daily basis will have priority. All others are encouraged to store their processing supplies in a plastic toolbox in their office in a clean drawer and bring them into the cleanroom when needed.

Shower/Eye Wash:

If you spill a chemical on your body or in your eyes, flush the spill immediately with large quantities of water and seek assistance. This can be accomplished by using the DI spray gun if the spill is on a hand, the shower if on the body, or the eyewash if in the eyes. Call security for transportation to the hospital. A bottle of eye wash solution can be found in the first aid cabinet in the lounge for use during transportation. Hydrofluoric acid burns should first be flushed with water and then HF antidote gel should be massaged into the affected area on the way to the hospital. HF antidote gel is located on each acid wet bench and additional tubes may be found on the supply shelves in the change room. All users must be familiar with the proper use and treatment of hydrofluoric acid as described in the HF Particularly Hazardous Substance Protocol.

Emergency Power Disconnects:

There is an emergency power disconnect switch for each bay in the cleanroom and a master switch for the entire facility. The switch is a red button located on the wall near the entrance to each bay. The master switch is located on the wall in the change room. The switch will disconnect the power to all equipment in the bay and should only be used in an emergency when an individual machine cannot be shut off. Most machines have their own disconnect switch.

Alarms:

There are two alarms in the cleanroom. One is a fire alarm and the other is an exhaust failure alarm. When an alarm is sounded, stop what you are doing and immediately exit the cleanroom.

Fire Extinguishers:

There are four hand held extinguishers located in glass door cabinets.  The cabinets are mounted in the wall and have a blue light mounted above them.  There are two in the class 10 area and two in the class 100 area.  These are CO2 extinguishers, so gross contamination is not a problem.  In case of a fire seek help immediately from the management or security at x8-2323. If the fire is small, smaller than an office waste container, use the extinguisher to put it out.  If the fire is larger, evacuate the facility and pull the fire alarm outside the cleanroom. There is an alarm switch located on the wall next to the elevator and another located on the wall near the men's room on the F-level near the back stairwell.

First Aid Station:

There is a first aid cabinet located above the sink in the lounge.  This cabinet is available to all personnel on a self-serve basis. Ask for assistance whenever necessary.

Material Safety Data Sheets (MSDS):

There is a MSDS for each chemical used in the cleanroom. A black binder of all the MSDS's is located in the lounge on the bookshelf next to the sink. If you plan to bring a chemical into the cleanroom that is not in the MSDS binder, talk to Chris Bowman for authorization. Once authorized to bring in the chemical, a MSDS must be provided before the chemical enters the cleanroom. Each chemical or gas that you use in the cleanroom must be included on your Cleanroom Chemicals and Gases Form.

Chemicals and Gases:

Each cleanroom user must complete a Cleanroom Chemicals and Gases Form (see next page) before the user may enter the cleanroom. These forms are kept on file in a binder next to the Material Safety Data Sheets in the Cleanroom Lounge. Each chemical and gas on the list must have a Material Safety Data Sheet and a Chemical Description and Hazard Analysis form on file and be initialed by a faculty advisor, and finally by the cleanroom manager. Any new chemicals or gases brought into the cleanroom by existing users must first be added to this list and initialed. It is the users’ responsibility to ensure that proper handling, storage, and waste removal procedures are in place - before any chemical or gas enters the cleanroom. All chemicals and gases must be labeled by the Nanofabrication Facility staff with the owners name, extension and date. Any unlabeled chemicals or gases found in the cleanroom will be removed. Each chemical and gas must be removed by the owner upon completion of the project or when no longer needed.

Cleanroom Chemicals and Gases

Name:						      Advisor:

| Chemical/Gas Name | Date | Volume | CR Bay Location | MSDS | Chemical Descrip. & Hazard Analysis | Advisor | CR Manager |
| --- | --- | --- | --- | --- | --- | --- | --- |

I have acquired a Material Safety Data Sheet, my advisor's initials, and a Chemical Description and Hazard Analysis form. I understand the proper handling, chemical compatibility, storage, shelf life, and waste disposal procedures of each chemical on this list. I will follow these procedures when using these chemicals. Each chemical is marked with my name, campus extension and date. Each chemical will be removed by me from the cleanroom upon completion of my project or when no longer needed. Any chemicals removed from the cleanroom will be crossed off of this list.

Signature:________________________

Chemical Description and Hazard Analysis

Chemical Name:

Chemical Formula:

Use in Cleanroom:

Principal Hazards:

Required Handling Procedures:

Chemical Compatibility Problems:

Storage Requirements:

Shelf Life:

Waste Disposal Procedures:

Prepared by:			Ext.:	Date:

Chemicals and Gases (continued):

Cleanroom users should purchase chemicals in quantities small enough to be used within three months. No more than one gallon of any chemical may be brought into the Cleanroom by a user.

Particularly Hazardous Substances:

The Cleanroom is a Particularly Hazardous Substance (PHS) designated area for hydrofluoric acid. Hydrofluoric acid is used frequently in the facility and all users must be familiar with the health hazards and emergency procedures associated with it. The Nanofabrication Facility’s PHS Safety Protocol for HF must be signed by each user and approved by the Nanofabrication Facility management.

Other PHSs will be handled on an individual basis by Nanofabrication Facility management. A partial list of PHSs and an example Safety Protocol Form may be found at http://www.cmu.edu/ehs/phsamend.html.

Intercom:

There is a speaker/microphone for the intercom in each bay. The central unit is located in the lounge. When someone talks to you through the speaker while you are in the cleanroom, respond by simply talking into the speaker. To use the central unit turn on the switch that corresponds to the desired speaker location, then press and hold the talk button to talk, and release the talk button to listen.

Central Vacuum Cleaner:

The cleanroom has a central vacuum cleaner with a port in each bay. The vacuum cleaner motor and pump exhaust are located in the equipment room on the 
E-level. The on/off switch is located in the change room above the drinking fountain. The vacuum cleaner hose and attachments are kept on a hanger on the wall in the main corridor next to the airlock into the class 10 zone. Return the hose and all attachments to the hanger after each use.

Shop:

There is a model shop located outside the cleanroom on the F-level. This shop is for cleanroom equipment repair and modification, but is also available for graduate student use. Always use safety glasses when working in the shop area - glasses are found hanging on the power tools. Ask for assistance if you are not experienced with these tools. Always clean up after yourself and put all the tools back where they belong. There is a sign out sheet for tools in the toolbox. Sign out is for a maximum of 24 hours. Failure to sign out or return tools within twenty-four hours will lead to removal of tool privileges. The tools are for departmental use only - do not sign out any tools for home projects. A key may be signed out that will open the gate and the toolbox after 5:30 PM.

Cleanroom Facilities:

Temperature:	68°, ± 1°F

Humidity:	35%, ± 3% RH

Deionized Water:	18 M ohm, .2-micron final filter, reverse osmosis feed
		water.

Nitrogen Gas:	75 psi, generated from liquid nitrogen in bulk storage tank,
		used for N2 guns and vacuum chamber back fill.

Compressed Air:	95 psi - 115 psi, oil free, filtered, maintained at -100°F

dewpoint, dual compressor system, used for pneumatics.

Process Vacuum:	20" Hg vacuum, dual vacuum pump system, used for wafer
		chuck hold down.

Process Chilled Water:	60° F, 100 kohm, 5 micron central filter, DI water makeup,
		closed loop system, 85 psi supply - 10 psi return.

Acid Drain System:	polypropylene drain system, limestone bed neutralization
		sump, not compatible with hydrofluoric acid.

Central Vacuum Cleaner:	external vacuum pump with ports in each bay.

Corrosive exhaust:	stainless steel ductwork, used primarily for acid bench
		exhaust, static pressure alarm switch.

Solvent exhaust:	galvanized steel ductwork, used for solvent benches and
		vacuum pump exhaust, static pressure alarm switch.

Toxic Exhaust:	stainless steel ductwork, static pressure alarm switch.

Liquid Nitrogen:	1500 gal. bulk LN2 storage tank, LN2 is dispensed into

small dewars from an LS160 dewar and sold by the pound,

the dewar sits on a scale and is weighed before and after
		dispensing, LS160 dewars are filled directly from the bulk
		tank.

Notes:

# Comments

The map is in Encapsulated Postscript format and will print fine. Don’t mess with it.