# CHEMLAB SAFETY INFORMATION

Chemlab Chemical Hygiene Plan

(Safety Rules and Procedures)

OSHA (Occupational Safety and Health Administration) recommends that all laboratories have a written Chemical Hygiene Plan as a fundamental chemical safety plan for the laboratory. Chemical Hygiene Plans are required to include laboratory specific hazard and safety information. A hierarchy of engineering, safety equipment and safety equipment and administrative controls are the basis for a chemical hygiene plan.

The designated Safety Officer of the Chemlab is Larry Schultz (schultz+@cs.cmu.edu).

You must read, understand, and practice at all times the following Chemlab safety rules. Use common sense when thinking of safety. When working in the Chemlab, think about your actions and how they will affect other lab members, as well as yourself.

The rules and procedures outlined here have evolved from experience and are for the protection of you and your fellow lab members. Failure to follow them can result in your suspension or expulsion from the Chemlab.  If you have any questions, feel free to ask a lab member. There are no excuses for not following safety procedures.

Be aware of your own and everyone's safety. If you see a lab member  practicing  unsafe procedures, do not hesitate to walk up and remind him/her of proper  methodology. Safety violations should be  reported on the computer, of if you prefer, using a report card next to the first aid kit in the lab hallway. Lab members found violating Chemlab safety rules or endangering themselves or others may have their lab access denied.

General

- Buddy System - The Cardinal Rule

Use the buddy system:

  - if you are a relatively new and inexperienced user

  - if you are working after hours with potentially dangerous equipment, etc.

NEVER WORK ALONE if any of the two previous statements are true.  This rule is absolute and non-negotiable

Once in the lab, locate a lab member and inform them where you will be working. Check up on one another regularly. If no one else is present, you must leave the lab until you can find another lab member. It is a good idea to plan ahead if you want to work in the evening or on a weekend.

- Handling Emergencies After Hours

The Chemlab Emergency Response Plan is posted by the telephones. Please follow the procedures listed. The following is a list of the phone numbers detailed in the Emergency Response Plan; call them in the order listed. An example of the chart follows on the next page.

http://ehs-alert.fms.bap.cmu.edu/

http://ehs-alert.fms.bap.cmu.edu/pdf/CMU%20Sign%20Book.PDF

| Security | 268-2323 |
| --- | --- |
| Environmental Health & Safety (EH&S) | 268-8182 |
| Radiation Safety | 268-3221 |

The nature of the emergency will determine whether you call x8-2323 or 911, staff, or both. If someone is severely injured, call 911 to summon emergency medical help before you call staff. For a facilities problem, such as a flood, or a utility problem that does not represent a danger to the lab members but may result in damage to equipment, call the staff and Campus Services. Do not call 911 for problems limited to facility or equipment. Always call 911 when a potentially life threatening or severe injury situation might exist (injury, fire, gas leak, suspected bomb, etc.).

- HAZMAT Alarm

?

- Chemlab Evacuation Procedures

- When the building fire alarm sounds, you MUST evacuate Hamerschlag Hall. Always assume it is for real unless you hear a formal announcement that it is a test or false. Advise doubters to make that same assumption and evacuate the building.  When the alarm sounds or evacuation announcement is made over the intercom secure your process, take any personal belongings, and leave the lab quickly but calmly. Take the stairs to the ground floor and exit Hamerschlag Hall. Do not return to Hamerschlag Hall until the Fire Department gives the ‘all clear’.

- If an alarm sounds secure your process and evacuate other lab members as you leave. Flip the evacuation sign located on the door glass so it reads: CHEMLAB HAS BEEN EVACUATED DO NOT ENTER.

- Safety Awareness

Please report safety problems you encounter, on the logbooks or email Larry Schultz.

Your ideas and observations will be appreciated.

- Restrictions

  - Gowning

Sandals, high heels or going barefoot are not permitted in the Chemlab. Wearing of contact lenses in the lab is discouraged due to the hazard of trapping chemicals in or under  lenses. Soft or hydrated contact lenses may contain up to 50% water by weight and can become irritating if they absorb chemical vapors. If you choose to wear contact lenses in the lab, you do so at your own risk.

For reasons of safety, radios or headphones are not allowed in the Chemlab. You must wear safety glasses in the Chemlab at all times. Under certain circumstances, such as the presence of laser or UV sources, further specialized eyewear may be required.

  - Movement

Walk, don’t run. The Chemlab can be crowded and people are carrying sharp objects  or corrosive liquids. This is especially important at the sinks, which often more than one person will be using at a time.

  - Food and Beverage

Consuming food or beverages in any part of the Chemlab, including the lobby, is forbidden. Use the kitchen-coffee room across the hallway for this purpose.

  - Cell Phone Usage

Cell phone usage is forbidden in the Chemlab except in the hallway, gowning areas. Cell phones must not be used in laboratory equipment areas or when operating equipment. Lab members are reminded to be courteous to other members when using a cell phone.

  - Visitors

If you wish to bring visitors into the Chemlab you must first obtain permission by e-mailing schultz+@cs.cmu.edu. Visits are limited to individuals with an educational or scientific interest in the activities in the Chemlab. Family and friends do not qualify. Photography is permitted.

All visitors must remain in the presence of their host for the duration of their visit. Gowning of visitor consists of lab coats located to the left of the entrance in the lobby area.

Visitors must wear eye protection (available by the lab entrance) and gloves. Chemlab safety rules apply to visitor.

- First Aid

Injuries, such as minor burns and cuts can be treated with the first aid kit located in the main hallway inside the lab (right side of door after the togging room).  If you use items from this, please report their use to the Chemlab admin (schultz+@cs.cmu.edu).  The first aid kit can be removed from the wall if necessary.

Chemical Safety

- Chemical Information and Reference Materials

Chemlab members use chemicals both stocked by the Chemlab and those provided by members themselves. Chemicals stocked in the Chemlab are for use in the Chemlab and not for use in other departments or research facilities. You can view the list of stocked chemicals on the binders located above the storage cabinet.

Familiarize yourself with any chemicals you plan to use in your research. Several references are available in the lobby workstation area. Use a search engine, such as www.google.com to secure Material Safety Data Sheets (MSDS) and for additional information on chemicals and materials prior to working with them. You may also consult with the CMU Office of Environmental Health and Safety regarding the properties and toxicology of your prospective chemicals. Contact EH&S at 268-8182 or check http://ehs-alert.fms.bap.cmu.edu/.

Be aware the Chemlab has special restrictions on the use of some chemicals.

A Special Chemical is any chemical that is not supplied and stocked by the Chemlab. Lab members must review their use of Special Chemicals with Chemlab staff and have all chemicals approved and labeled  prior to bringing them into the Chemlab. To bring a Special Chemical into the Chemlab follow the procedure below:

  - Request a Special Chemical review with Larry Schultz, Chemlab Admin, (schultz+@cs.cmu.edu). Order special chemicals through your own department or company. Ordering a minimal quantity reduces the disposal charge you will incur.

  - Bring two copies of the Material Safety Data Sheet (MSDS) to the Chemlab Admin before taking your chemical into the Chemlab. If you lose the MSDS delivered with your chemical order, use a search engine to retrieve a copy.

  - Label your container before taking it into the Chemlab.  Please add your name and contact info to your container. You can use the label maker located in the Characterization Lab. Please advise Chemlab Staff when you expend or remove the chemical and do not intend to replace it.

  - An unlabeled chemical container is a general violation of OSHA regulations and may result in a heavy fine for each such container. Chemlab staff will actively seek and dispose of any special chemical without the  Chemical label or any other unlabeled chemical containers in the Chemlab.

  - Chemicals are often passed from one member of a research group to another, as lab members leave and new ones join. Members of any research group passing on chemicals have the responsibility to ensure that new labels are placed on the containers of any such chemicals, giving new owner.

- Personal Protective Equipment

Prior to working with chemicals, make sure to properly protect yourself. If you will be working with acids, corrosive or other hazardous chemicals, you must wear chemically rated gloves, and a face shield. If you will be working with large volumes of acids or corrosives, such as when filling a tank in a wet process station with etchant, or mixing an etchant, you MUST wear an apron. If gloves, aprons, or face shields  aren't  readily available  in the Chemlab togging room,  contact the Chemlab Admin Larry Schultz and the necessary items will be provided.

- Triple Polymer, Acid Resistant Gloves (tan colored)

These gloves are chemically rated and must be worn whenever you work with etchants, caustics or corrosives. You can obtain them from the Chemlab togging room. Check them regularly for wear and replace them when needed. If you anticipate immersion or exposure of your gloved hands, you must leak-check your rubber gloves. Do this by pressurizing them with a nitrogen gun, then immersing them in water. Check for bubbles, a sure sign of a leak.

- Face shield

This is a mask frame with a clear plastic barrier in front to protect your face from splashed chemicals. Wear a face shield over your protective goggles. Avoid getting traces of corrosive chemicals on the shield by thoroughly rinsing or even removing your chemical resistant gloves before taking off the face shield.

- Chemical aprons

These are available next to the lab coats. Be sure to rinse your gloves thoroughly before removing an apron, to avoid leaving traces of caustic chemicals on the straps.

- Respirators

- A respirator is a half-face device used for protection from breathing hazardous fumes. By law and University regulation you may use a respirator while working with chemicals with a fume hazard if the chemicals cannot be used under a fume hood or with some other engineering or administrative control. An example might be dispensing non-standard photoresists on a spinner by hand.

- Respirators must be properly stored in plastic bags labeled with a lab member name, and dated with the issue date and the subsequent cleaning and inspection dates. The recommended interval for cleaning and inspection is 30 days or next use following 30 days.

- Obtaining Chemicals and Transporting Them Through the Lab

- Chemicals for the Chemlab are stored  in special chem cabinets located in the togging room. A list of chemicals is posted on the back side of the door to the togging room. After removing any item from the cabinets make sure the doors are closed. Chem cabinets doors  must  always remain closed for safety reasons. If you cannot locate a chemical listed on  these  inventory  sheets contact the Chemlab admin Larry Schultz.

- Chemicals in glass bottles must be transported through the lab with special protection. Individual glass bottles must be placed in polyethylene safety carriers.

- Be sure to check that there are no bottles of  the  chemical you  need  in  your  area before bringing in and opening new ones. Remember to return the bottle to the chem cabinet.

- Working with Chemicals

- Always work with chemicals at a fume hood or a wet process  station!

Fume hoods  and  wet  process  stations are exhausted.

- Dry Chemicals

When measuring  out chemicals never pour

a chemical back into its reagent bottle.  This can contaminate the remaining chemical in  the  bottle. When removing dry chemicals, pour them out when possible.  Scoop only when necessary  and  use  freshly cleaned  spatulas.   If  you  pour  out too much, instead of throwing the excess away, you should store  it  in  a clean, labeled container for your use later.

- Solutions

  - When mixing acids with water, remember  to  ADD  ACID  TO WATER  and NEVER WATER TO ACID! An exception to this rule is the wafer cleaning  solution  called  "Piranha".  This solution  is  a mixture  of  sulfuric  acid and hydrogen peroxide.  Piranha solution is made  by  adding  H2O2  to H2SO4.  When mixing several acids with water, add the weakest one first.

  - WARNING: Potentially serious accidents may  occur if you aren't familiar with the chemicals you are working with. Here is an example of things to avoid when working with hot piranha solutions  in beakers.  Case 1: Accidents  occurred  when  lab  members used wafer holders assumed  to be  Teflon®, a fluoropolymer, which is one of the  few  plastics  compatible  with  hot piranha.  In both cases lab members made the wrong assumption and the plastic reacted violently with hot piranha, splashing liquid  onto researchers.  Injuries could have been severe because in each accident LAB MEMBERS FAILED  TO  WEAR  THE  REQUIRED PROTECTIVE SAFETY EQUIPMENT, i.e. face shields.

  - Use appropriate containers for your solutions. Do not use glassware  for  HF as it will dissolve glass. Always place fuming containers toward the back of the fume hoods where there is maximum exhaust. Do not  leave  chemical  processes  unattended unless absolutely necessary. If you must leave an area with a process in progress, make sure you leave  your  process clearly  labeled  with  your  name,  the date, time, your expected time of return, where you can be reached (if you will  be  gone  more  than  10 minutes) and the chemicals involved.

  - If you encounter a spill at a sink of an unknown solution first check the pH. The pH  test  strips can be found in the Nanofabrication facility HH Level F.

- Color charts with reading instructions are laminated and posted by these dispensers. The pH test strips are calibrated to read from 0-14 pH.

- If the spilt solution is strongly acidic or strongly basic, use a sink deck hose to flush the solution into the sink. If it is near neutral or you have finished flushing, use a Technicloth to wipe and dry the surface. When finished, rinse the Technicloth and dispose of it.

- Hot Plates

Digitally controlled hot plates are available in the Chemlab. Digital hotplates allow rapid heating to a set point without  overshoot. In addition, digital hotplates use electronic control rather than mechanical contact closure to regulate electrical current, eliminating the possibility of sparking which can ignite the vapors of flammable organic liquids.

- Working Chemical Storage

Lab members occasionally find it handy and economical to save chemical solutions for on-going use. Balancing one environmental objective of conserving resources with another of safety of lab members and staff, the Chemlab requires lab members to store any working solutions securely in containers.  The containers must be labeled with the lab member’s login name, contact information and detailed contents of the container. Chemlab staff will dispose of any improperly stored working solutions. A small refrigerator is located in the togging room to store bottles of photoresist and other materials.

- Personal Hygiene

EH&S and Chemlab recommend that lab members wash their hands after leaving the Chemlab, even if no known exposure has occurred. Remember that the surgical gloves you must wear at all times while in the Chemlab are intended to protect equipment and materials, not your hands.

- Chemical Disposal

When you are through with your process, clean up completely. Proper disposal procedures for chemicals:

- Acids, (including piranha), acetone and alcohols must be disposed from their containers. Special labeled disposal bottles for chemical waste are located in the sink of the wet or acid benches. Make sure you read the label before placing any chemical waste in it. NEVER POUR ACID, ACETONE or ALCOHOL directly down a drain; always use the waste bottles. Never mix solvents with acids when disposing material - this is a potentially explosive combination! Disposal bottles are collected by a Chemlab SuperUser and sent to Campus Hazardous Waste Management for disposal. Trained Chemlab SuperUser perform this operation. Lab members should not empty these disposal bottles. If you find a problem with the disposal bottles report the problem to the designated SuperUser.

- Organic solvents, such as acetone, chlorobenzene and photoresist, should never be poured down the drain.  Solvents must be poured into solvent disposal bottles located in solvent wet bench sink. Open the lid of the special funnel on the solvent disposal bottle before pouring solvents into it and be sure to close the lid afterward to prevent the escape of flammable and toxic vapors.  Never pour acid for disposal into a solvent waste bottle because an explosion may result. Make sure chemical disposal bottles are not overfilled. When a chemical disposal bottle is approximately 75%  full:

  - Loosely cap the bottle. Do not tighten the cap.  This prevents vapor pressure buildup.

  - Pick up a replacement chemical disposal bottle from underneath the solvent wet bench.

  - Remove the label from the clip board associated with the particular chemical disposal bottle. Enter the summary of contents to the peel-off label and place this on the new disposal bottle.

  - Notify the chemical waste SuperUser about the full chemical disposal bottle.

- Chemicals Disposal Bottles placed in the Chemical Disposal Carrier must be labeled with the contents and contact info. . Placing unlabeled chemicals  for disposal in this cabinet is a violation of lab policy, which may result in suspension from the Chemlab.

- Bring empty chemical bottles, plastic or glass, to the chem room.

Rinse bottles thoroughly 3 times. Bottles that contained acetone, methanol, 2-propanol (IPA), ethanol, photoresist developers, and floor and lab cleaners should be rinsed in the black sink by the door. Bottles that once contained acids or chlorinated solvents should be rinsed at the sink from the corresponding wet or acid bench. Wear a face shield and chemical resistant gloves while doing so. Once the bottle has been rinsed 3 times, scratch its label. The scratched label indicates that the bottle has been properly rinsed.

- Clean glass bottles go in the recycle can located next to the solvent wet bench. Clean plastic bottles, which have been emptied of buffered HF or peroxide, go in the recycle can.

- Chemical Exposure

- If your skin is exposed to a toxic chemical, you must immediately remove all affected clothing. Flush the affected areas with water for 15 minutes, not less. Use the emergency shower and/or eyewashes as necessary. The location of the safety showers and eyewashes are clearly marked with signs and located next to the door that enters the lab after the togging room.

- Contact a lab member after you have flushed the exposed area with water.  If exposure occurs in the evening or on a weekend, contact a member listed on the Emergency Response  Plan posted by the phones.

- Exposure of the eyes requires flushing them with water for at least 15 minutes.  As a precaution, all exposures to the eye will require a visit to an emergency room for a check up. Contact a lab member as soon as possible for assistance or call campus police x8-2323.

- If your eyes are exposed to a chemical while working at a wet process station, use the DI water deck hose to flush your eyes instead of trying to make your way to an eyewash station.  Hold your eyes open and flush continuously for 15 minutes. The DI deck hoses will be your fastest response for such an emergency when working at a wet process station or sink.

- HF burns can be particularly hazardous. An insidious aspect of HF burns is that there may not be any discomfort until long after exposure. These burns may result in deep tissue damage as fluoride ions diffuse through tissue. If you contact HF, flush the area well and be sure to work under and around your fingernails.  Under fingernails and cuticles are  the main area people  receive  burns, having  washed off the HF without washing  under their nails. If washed off within a few minutes of exposure, HF will do no harm. Remember, HF may not produce any burning sensation until after it has already done damage. You should have a physician examine all suspected HF burns.

- Response for HF Exposure to Skin

- Remove contaminated clothing.

- Flush with cold water for 15 minutes.

- Gently massage calcium gluconate ointment into skin. There is a container of this material in the Chemlab First Aid Kit, next to the entrance door to the lab, and by the solvent wet bench where HF is used.

- Report any HF exposure to the office during work hours..

- Seek medical attention at the Health Center. Let professionals determine if exposure has resulted in a burn.

- Chemical Spills

- In the event of a chemical spill, the Chemlab stocks spill pillows and spill blankets to clean up and contain wet chemicals. These are located underneath the first aid kit, right side of the door after the togging room. The material used in these pillows and blankets is selected for large moisture retention and its ability to neutralize acids.

- During normal working hours contact the Chemlab Admin Larry Schultz to report chemical spills. If you need to clean up a spill after hours or on a weekend, obtain one of the spill kits. These kits contain the needed materials to safely cleanup a spill. Instructions are on the Spill cleanup kit. Be sure to package the used spill pillows or blankets in the yellow plastic hazardous waste bags.

- Report all spills to the Chemlab Admin Larry Schultz.

Disposal of Hazardous Objects & Trash

- Broken Glassware

Broken glassware should be disposed of by depositing in the cardboard container designed for broken glass disposal. This container is located next to the solvent wet bench. Unfortunately, some students confuse these containers with trash cans. BROKEN GLASS RECEPTACLES ARE NOT TRASH CANS. Please do not place anything in these boxes other than glass. Contact a senior lab member if you need help disposing of broken glass. The special container protects the custodial staff from accidental injury from broken glass.

- Wafers

Check with other lab members before throwing away whole wafers. Some can be recycled or used as dummies for other processes. Wafers and broken wafers are disposed of in the same containers as broken glass.

- Photoresist waste

Gloves, droppers, wipers or any material that was in contact with photoresist should be disposed of in the small red plastic container located in the Chemlab next to the solvent wet bench. This container is labeled with a BioHazard sign. Sharp objects also require a special container. Examples of sharp objects commonly used in the lab are disposable syringe needles. Please place such items in the sharp objects box.

- Regular trash

There are regular trash cans placed at specific locations in the lab. Unfortunately, certain regulations limit the amount of trash cans that can be placed in each lab. As a result there might not be one handy when you need it. This in turn makes it tempting to place trash in broken glass boxes. Please take the time to locate a regular trash can and place items such as paper, gloves, and other harmless waste in them, even if you have to walk a little longer.

PLEASE DO NOT PLACE SHARP OBJECTS OR BROKEN GLASS IN TRASH CANS. THE TRASH BAGS EASILY PUNCTURE, WHICH POSES A HAZARD TO THE JANITORIAL PERSONNEL WHO HANDLES THEM

MISPLACED WASTE CREATES BIG PROBLEMS FOR THE PEOPLE WHO MUST HANDLE IT AFTER THE STUDENTS LEAVE THE LAB. IF IN DOUBT, PLEASE CONSULT SENIOR LAB MEMBERS RATHER THAN CARELESSLY DUMPING WASTE INTO THE WRONG CONTAINERS.

Compressed Gases

- Handling Gas Cylinders

Cylinders of compressed gases are used throughout the lab. There are protocols to install or disconnect these cylinders. Please contact a SuperUser or the Chemlab Admin to learn this procedure. Only trained lab members may handle any compressed gas cylinders. There are several reasons for this policy. Some gases in these cylinders are at high pressures, some as high as 3000 psi. Regulators are designed to handle specific gases and can explode if not properly chosen. Improper installation or purging will contaminate a full bottle of gas. Some of our etching gases cost hundreds of dollars and their loss or contamination is very costly. Gas cylinders must be chained and strapped down at all times, to either wall mounts or carts, except when being transfer from one to the other.

2. Nitrogen Guns

Nitrogen guns and compressed gas can inflate the skin like a balloon, tearing it away from the tissue underneath. Be cautious and avoid cuts when spraying nitrogen or working around gas streams.

Fire Hazards

- Fire Prevention

Fires in the lab can result from many causes including ignition of flammable  gases or  solvents, and combustion of materials. Use care when using heat lamps or heating flammable solvents on hot plates. Always use a water bath to transfer heat to flammable solvents when using a hot plate and never leave the water bath while the hot plate is powered up. Avoid water around electrical equipment, cables and outlets. Use common sense when working in the lab.

2. In Case of Fire

In the event of a fire in the lab, use the extinguishers and report it to the Chemlab Admin or a SuperUser.  Fire extinguishers are located inside the Chemlab next to the solvent wet and right outside the Chemlab next to the elevator. Most of these are Carbon dioxide type extinguishers. The campus Fire Department regularly checks fire extinguishers.

Chemlab  members are not expected to be fire fighters. Use a fire extinguisher if the fire is still small. If it is spreading don’t try to be a hero; activate the alarm and evacuate the building. A fire alarm is located next to the elevator outside of the ChemLab.

Report any use of a fire extinguisher to the office immediately.

For fires, call the police at x8-2323 and evacuate the lab.

If your clothes catch fire, use the showers and do not panic. MAKE SURE YOU KNOW THE

LOCATION OF THE SHOWERS AND EYE WASH STATIONS!

Electrical Safety

- Wiring

All electrical power wiring must done by Chemlab staff. Learn the locations of the circuit breakers required by the equipment you use. In case of electrocution of someone in the lab, do not touch or grab them until power is off. Do not attempt to shut off power on the system, rather use the circuit breakers in the service chases or the breaker panels. Report all electrical problems to the Chemlab Admin.

- Power Strips

Use of power strip in the Chemlab is regulated. Many locations cannot handle the increase in current load when a power strip is added. Power strips may not be used as extension cords.

Safety Test Study Guide

Be sure to know...

1. Which chemicals to dispose, which to recycle.

2. How to dispose of empty bottles.

3. How to deal with acid spill, on yourself and on floor.

4. How to deal with a co-worker who leaves a mess.

5. What to do when troubleshooting does not work.

6. What info to include in Logbooks.

7. How to deal with suspicious odors.

8. How to be safe when working with fume-producing chemicals.

9. Leak checking gloves.

10. Working alone in the lab.

11. Where to dispose of broken glass.

12. Labeling a process if you have to leave.

13. Getting trained on new equipment.

14. Disposing of used chemicals.

15. Safety gear you must wear in lab, at sinks, when handling acids.

16. What equipment you are allowed to use after passing safety test.

17. What items you may/may not bring into Chemlab.

18. How to respond to a severe injury, electric shock in the Chemlab.

19. What to do if you get acid in your eyes, and when you cannot get to eyewash.

20. How to respond to fire alarm.

21. What to do with a suspicious package.

22. If you measure out too much of a chemical.

23. In what order you add acids and water.

24. Warming a solvent solution.

25. If you suspect your skin was exposed to HF.

26. Specifications for safety eyewear.

27. How to clean up an unknown spill.

28. Hazard of mixing acid and solvent.

# Text boxes

First aid kit

Regular

trash

Glass

Hazardous waste

Cylinders